## July 2023
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for July 2023
Date published 7 Aug 2023
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | No discharge occurred
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | N/A | N/A | N/A | N/A
BOD | milligrams per litre | N/A | N/A | N/A | N/A
Nitrogen- Total as N | milligrams per litre | N/A | N/A | N/A | N/A
Oil and Grease | milligrams per litre | N/A | N/A | N/A | N/A
Suspended Solids | milligrams per litre | N/A | N/A | N/A | N/A
pH | pH | N/A | N/A | N/A | N/A
Other Reporting information:
MWOO Levy Exemption (NSW Government Gazette no.213 of 20th May 2022)
Section b):
§ MWOO has been pasteurised according to section 1.
§ MWOO has been biologically stabilised according to section 2.
Section d)
§ The tonnage shipped is (as at 01/06/2023) is 85,625 tonnes (limited to 127500 tonnes up to 1st November 2023).

## June 2023
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for June 2023
Date published 7 Jul 2023
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | No discharge occurred
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | N/A | N/A | N/A | N/A
BOD | milligrams per litre | N/A | N/A | N/A | N/A
Nitrogen- Total as N | milligrams per litre | N/A | N/A | N/A | N/A
Oil and Grease | milligrams per litre | N/A | N/A | N/A | N/A
Suspended Solids | milligrams per litre | N/A | N/A | N/A | N/A
pH | pH | N/A | N/A | N/A | N/A
Other Reporting information:
MWOO Levy Exemption (NSW Government Gazette no.213 of 20th May 2022)
Section b):
§ MWOO has been pasteurised according to section 1.
§ MWOO has been biologically stabilised according to section 2.
Section d)
§ The tonnage shipped is (as at 01/06/2023) is 85,625 tonnes (limited to 127500 tonnes up to 1st November 2023).

## May 2023
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for May 2023
Date published 7 Jul 2023
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 1
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 0.23 | 0.23 | 0.23 | 0.23
BOD | milligrams per litre | <4 | <4 | <4 | <4
Nitrogen- Total as N | milligrams per litre | 4.2 | 4.2 | 4.2 | 4.2
Oil and Grease | milligrams per litre | <5 | <5 | <5 | <5
Suspended Solids | milligrams per litre | <2 | <2 | <2 | <2
pH | pH | 6.9 | 6.9 | 6.9 | 6.9
Other Reporting information:
MWOO Levy Exemption (NSW Government Gazette no.213 of 20th May 2022)
Section b):
§ MWOO has been pasteurised according to section 1.
§ MWOO has been biologically stabilised according to section 2.
Section d)
§ The tonnage shipped is (as at 01/05/2023) is 79,808 tonnes (limited to 127500 tonnes up to 1st November 2023).

## April 2023
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for April 2023
Date published 7 Jul 2023
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 2
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 0.41 | 0.46 | 0.46 | 0.51
BOD | milligrams per litre | 24 | 25.5 | 25.5 | 27
Nitrogen- Total as N | milligrams per litre | 5.4 | 11.7 | 11.7 | 18
Oil and Grease | milligrams per litre | <5 | <5 | <5 | <5
Suspended Solids | milligrams per litre | 17 | 52.5 | 52.5 | 88
pH | pH | 7.2 | 7.4 | 7.4 | 7.6
Other Reporting information:
MWOO Levy Exemption (NSW Government Gazette no.213 of 20th May 2022)
Section b):
§ MWOO has been pasteurised according to section 1.
§ MWOO has been biologically stabilised according to section 2.
Section d)
§ The tonnage shipped is (as at 01/04/2023) is 75,010 tonnes (limited to 127500 tonnes up to 1st November 2023).

## March 2023
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for March 2023
Date published 10 Apr 2023
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 2
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 0.15 | 0.175 | 0.175 | 0.2
BOD | milligrams per litre | 18 | 25 | 25 | 32
Nitrogen- Total as N | milligrams per litre | 3.4 | 3.9 | 3.9 | 4.4
Oil and Grease | milligrams per litre | <5 | <5 | <5 | <5
Suspended Solids | milligrams per litre | 5 | 6 | 6 | 7
pH | pH | 6.9 | 7.25 | 7.25 | 7.6
Other Reporting information:
MWOO Levy Exemption (NSW Government Gazette no.213 of 20th May 2022)
Section b):
§ MWOO has been pasteurised according to section 1.
§ MWOO has been biologically stabilised according to section 2.
Section d)
§ The tonnage shipped is (as at 01/03/2023) is 65,934 tonnes (limited to 127500 tonnes up to 1st November 2023).

## February 2023
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for February 2023
Date published 10 Mar 2023
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 4
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 0.13 | 0.6175 | 0.52 | 1.3
BOD | milligrams per litre | <4 | 13.5 | 11.5 | 27
Nitrogen- Total as N | milligrams per litre | 1.3 | 4.975 | 4.65 | 9.3
Oil and Grease | milligrams per litre | <5 | <5 | <5 | <5
Suspended Solids | milligrams per litre | <2 | 18 | 24 | 27
pH | pH | 6.5 | 7.175 | 7.15 | 7.9
Other Reporting information:
MWOO Levy Exemption (NSW Government Gazette no.213 of 20th May 2022)
Section b):
§ MWOO has been pasteurised according to section 1.
§ MWOO has been biologically stabilised according to section 2.
Section d)
§ The tonnage shipped is (as at 01/01/2023) is 64,008 tonnes (limited to 127500 tonnes up to 1st November 2023).

## January 2023
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for January 2023
Date published 21 Feb 2023
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 1
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 0.58 | 0.58 | 0.58 | 0.58
BOD | milligrams per litre | 9 | 9 | 9 | 9
Nitrogen- Total as N | milligrams per litre | 5.2 | 5.2 | 5.2 | 5.2
Oil and Grease | milligrams per litre | <5 | <5 | <5 | <5
Suspended Solids | milligrams per litre | 12 | 12 | 12 | 12
pH | pH | 7.7 | 7.7 | 7.7 | 7.7
Other Reporting information:
MWOO Levy Exemption (NSW Government Gazette no.213 of 20th May 2022)
Section b):
§ MWOO has been pasteurised according to section 1.
§ MWOO has been biologically stabilised according to section 2.
Section d)
§ The tonnage shipped is (as at 01/01/2023) is 57,498 tonnes (limited to 127500 tonnes up to 1st November 2023).

## December 2022
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for December 2022
Date published 19 Jan 2023
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | No discharge occurred
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | N/A | N/A | N/A | N/A
BOD | milligrams per litre | N/A | N/A | N/A | N/A
Nitrogen- Total as N | milligrams per litre | N/A | N/A | N/A | N/A
Oil and Grease | milligrams per litre | N/A | N/A | N/A | N/A
Suspended Solids | milligrams per litre | N/A | N/A | N/A | N/A
pH | pH | N/A | N/A | N/A | N/A
Other Reporting information:
MWOO Levy Exemption (NSW Government Gazette no.213 of 20th May 2022)
Section b):
§ MWOO has been pasteurised according to section 1.
§ MWOO has been biologically stabilised according to section 2.
Section d)
§ The tonnage shipped is (as at 01/12/2022) is 51,128 tonnes (limited to 127500 tonnes up to 1st November 2023).

## November 2022
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for November 2022
Date published 13 Dec 2022
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 1
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 0.15 | 0.15 | 0.15 | 0.15
BOD | milligrams per litre | 7 | 7 | 7 | 7
Nitrogen- Total as N | milligrams per litre | 4 | 4 | 4 | 4
Oil and Grease | milligrams per litre | <5 | <5 | <5 | <5
Suspended Solids | milligrams per litre | 3 | 3 | 3 | 3
pH | pH | 6.9 | 6.9 | 6.9 | 6.9
Other Reporting information:
MWOO Levy Exemption (NSW Government Gazette no.213 of 20th May 2022)
Section b):
§ MWOO has been pasteurised according to section 1.
§ MWOO has been biologically stabilised according to section 2.
Section d)
§ The tonnage shipped is (as at 01/11/2022) is 40,478 tonnes (limited to 127500 tonnes up to 1st November 2023).

## October 2022
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for October 2022
Date published 11 Nov 2022
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 7
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 0.11 | 0.33143 | 0.19 | 0.78
BOD | milligrams per litre | <4 | 16.5714 | 8 | 35
Nitrogen- Total as N | milligrams per litre | 1.5 | 8.5571 | 4.1 | 35
Oil and Grease | milligrams per litre | <5 | 5.7143 | 5 | 9
Suspended Solids | milligrams per litre | 6 | 27.4286 | 33 | 54
pH | pH | 6.7 | 7.0571 | 7 | 7.4
Other Reporting information:
MWOO Levy Exemption (NSW Government Gazette no.213 of 20th May 2022)
Section b):
§ MWOO has been pasteurised according to section 1.
§ MWOO has been biologically stabilised according to section 2.
Section d)
§ The tonnage shipped is (as at 01/10/2022) is 33,849 tonnes (limited to 127500 tonnes up to 1st November 2023).

## September 2022
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for September 2022
Date published 14 Oct 2022
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | No discharge occurred
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | N/A | N/A | N/A | N/A
BOD | milligrams per litre | N/A | N/A | N/A | N/A
Nitrogen- Total as N | milligrams per litre | N/A | N/A | N/A | N/A
Oil and Grease | milligrams per litre | N/A | N/A | N/A | N/A
Suspended Solids | milligrams per litre | N/A | N/A | N/A | N/A
pH | pH | N/A | N/A | N/A | N/A
Other Reporting information:
MWOO Levy Exemption (NSW Government Gazette no.213 of 20th May 2022)
Section b):
§ MWOO has been pasteurised according to section 1.
§ MWOO has been biologically stabilised according to section 2.
Section d)
§ The tonnage shipped is (as at 01/10/2022) is 28,927 tonnes (limited to 127500 tonnes up to 1st November 2023).

## August 2022
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for August 2022
Date published 29 Sep 2022
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | No discharge occurred
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | N/A | N/A | N/A | N/A
BOD | milligrams per litre | N/A | N/A | N/A | N/A
Nitrogen- Total as N | milligrams per litre | N/A | N/A | N/A | N/A
Oil and Grease | milligrams per litre | N/A | N/A | N/A | N/A
Suspended Solids | milligrams per litre | N/A | N/A | N/A | N/A
pH | pH | N/A | N/A | N/A | N/A
Other Reporting information:
MWOO Levy Exemption (NSW Government Gazette no.213 of 20th May 2022)
Section b):
§ MWOO has been pasteurised according to section 1.
§ MWOO has been biologically stabilised according to section 2.
Section d)
§ The tonnage shipped is (as at 01/09/2022) is 23,620 tonnes (limited to 127500 tonnes up to 1st November 2023).

## July 2022
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for July 2022
Date published 1 Aug 2022
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 5
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 0.29 | 0.618 | 0.65 | 0.89
BOD | milligrams per litre | 19 | 61.2 | 52 | 110
Nitrogen- Total as N | milligrams per litre | 4.7 | 16.02 | 14 | 36
Oil and Grease | milligrams per litre | <5 | <5 | <5 | <5
Suspended Solids | milligrams per litre | 42 | 59 | 61 | 75
pH | pH | 6.8 | 7.28 | 7.2 | 7.7
Other Reporting information:
MWOO Levy Exemption (NSW Government Gazette no.213 of 20th May 2022)
Section b):
§ MWOO has been pasteurised according to section 1.
§ MWOO has been biologically stabilised according to section 2.
Section d)
§ The tonnage shipped is (as at 01/08/2022) is 19,300 tonnes (limited to 127500 tonnes up to 1st November 2023).

## June 2022
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for June 2022
Date published 11 Jul 2022
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | No discharge occurred
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | N/A | N/A | N/A | N/A
BOD | milligrams per litre | N/A | N/A | N/A | N/A
Nitrogen- Total as N | milligrams per litre | N/A | N/A | N/A | N/A
Oil and Grease | milligrams per litre | N/A | N/A | N/A | N/A
Suspended Solids | milligrams per litre | N/A | N/A | N/A | N/A
pH | pH | N/A | N/A | N/A | N/A
Other Reporting information:
MWOO Levy Exemption (NSW Government Gazette no.213 of 20th May 2022)
Section b):
§ MWOO has been pasteurised according to section 1.
§ MWOO has been biologically stabilised according to section 2.
Section d)
§ The tonnage shipped is (as at 01/07/2022) is 12,580 tonnes (limited to 127500 tonnes up to 1st November 2023).

## May 2022
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for May 2022
Date published 11 Jun 2022
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 4
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 0.46 | 1.69 | 1.8 | 2.7
BOD | milligrams per litre | 12 | 43.5 | 40 | 82
Nitrogen- Total as N | milligrams per litre | 6.1 | 41.525 | 41.5 | 77
Oil and Grease | milligrams per litre | <5 | <5 | <5 | <5
Suspended Solids | milligrams per litre | 46 | 94 | 105 | 120
pH | pH | 7.6 | 7.725 | 7.7 | 7.9
Other Reporting information:
MWOO Levy Exemption (NSW Government Gazette no.213 of 20th May 2022)
Section b):
§ MWOO has been pasteurised according to section 1.
§ MWOO has been biologically stabilised according to section 2.
Section d)
§ The tonnage shipped is (as at 01/06/2022) is 8002 tonnes (limited to 127500 tonnes up to 1st November 2023).

## April 2022
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for April 2022
Date published 13 May 2022
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 4
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 0.46 | 1.69 | 1.8 | 2.7
BOD | milligrams per litre | 12 | 43.5 | 40 | 82
Nitrogen- Total as N | milligrams per litre | 6.1 | 41.525 | 41.5 | 77
Oil and Grease | milligrams per litre | <5 | <5 | <5 | <5
Suspended Solids | milligrams per litre | 46 | 94 | 105 | 120
pH | pH | 7.6 | 7.725 | 7.7 | 7.9
Other Reporting information:
MWOO Levy Exemption (NSW Government Gazette no.182 of 2nd May 2021)
Section b):
§ MWOO has been pasteurised according to section 1.
§ MWOO has been biologically stabilised according to section 2.
Section d)
§ The tonnage shipped is (as at 01/04/2022) is 288215 tonnes (limited to 303500 tonnes up to 1st May 2022).

## March 2022
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for March 2022
Date published 14 April 2022
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 9
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 0.097 | 0.70633 | 0.78 | 1.3
BOD | milligrams per litre | <4 | 56.8889 | 25 | 200
Nitrogen- Total as N | milligrams per litre | 2.2 | 16.7444 | 17 | 28
Oil and Grease | milligrams per litre | <5 | <5 | <5 | <5
Suspended Solids | milligrams per litre | 5 | 90.5556 | 90 | 240
pH | pH | 7 | 7.4667 | 7.5 | 7.7
Other Reporting information:
MWOO Levy Exemption (NSW Government Gazette no.182 of 2nd May 2021)
Section b):
§ MWOO has been pasteurised according to section 1.
§ MWOO has been biologically stabilised according to section 2.
Section d)
§ The tonnage shipped is (as at 01/03/2022) is 276 782 tonnes (limited to 303500 tonnes up to 1st May 2022).

## February 2022
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for February 2022
Date published 18 Mar 2022
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 10
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 0.13 | 0.497 | 0.39 | 1.3
BOD | milligrams per litre | <4 | 24.3 | 11 | 100
Nitrogen- Total as N | milligrams per litre | 2.5 | 4.92 | 4.2 | 8.9
Oil and Grease | milligrams per litre | <5 | 5.8 | 5 | 13
Suspended Solids | milligrams per litre | 4 | 44.69 | 12.5 | 150
pH | pH | 6.6 | 7.25 | 7.3 | 7.6
Other Reporting information:
MWOO Levy Exemption (NSW Government Gazette no.182 of 2nd May 2021)
Section b):
§ MWOO has been pasteurised according to section 1.
§ MWOO has been biologically stabilised according to section 2.
Section d)
§ The tonnage shipped is (as at 01/02/2022) is 269543 tonnes (limited to 303500 tonnes up to 1st May 2022).

## January 2022
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for January 2022
Date published 8 Feb 2022
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 3
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 0.22 | 0.41 | 0.47 | 0.54
BOD | milligrams per litre | <4 | 13 | 14 | 21
Nitrogen- Total as N | milligrams per litre | 1.5 | 3.9 | 3.6 | 6.6
Oil and Grease | milligrams per litre | <5 | <5 | <5 | <5
Suspended Solids | milligrams per litre | 16 | 39.6667 | 51 | 52
pH | pH | 6.8 | 7.1667 | 7.3 | 7.4
Other Reporting information:
MWOO Levy Exemption (NSW Government Gazette no.182 of 2nd May 2021)
Section b):
§ MWOO has been pasteurised according to section 1.
§ MWOO has been biologically stabilised according to section 2.
Section d)
§ The tonnage shipped is (as at 01/01/2022) is 261020 tonnes (limited to 303500 tonnes up to 1st May 2022).

## December 2021
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for December 2021
Date published 8 Feb 2022
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 7
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 0.19 | 0.48429 | 0.34 | 1.3
BOD | milligrams per litre | 8 | 11.5714 | 9 | 20
Nitrogen- Total as N | milligrams per litre | 4.2 | 6.5286 | 4.8 | 11
Oil and Grease | milligrams per litre | <5 | <5 | <5 | <5
Suspended Solids | milligrams per litre | 17 | 56.2857 | 51 | 99
pH | pH | 6.7 | 7.3429 | 7.4 | 8
Other Reporting information:
MWOO Levy Exemption (NSW Government Gazette no.182 of 2nd May 2021)
Section b):
§ MWOO has been pasteurised according to section 1.
§ MWOO has been biologically stabilised according to section 2.
Section d)
§ The tonnage shipped is (as at 01/12/2021) is 253369 tonnes (limited to 303500 tonnes up to 1st May 2022).

## November 2021
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for November 2021
Date published 13 Dec 2021
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 11
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 0.12 | 0.36 | 0.38 | 0.66
BOD | milligrams per litre | <4 | 17.2727 | 17 | 38
Nitrogen- Total as N | milligrams per litre | 2.1 | 5.1455 | 5.1 | 8.1
Oil and Grease | milligrams per litre | <5 | 6.3636 | 5 | 10
Suspended Solids | milligrams per litre | 3 | 40.5455 | 20 | 170
pH | pH | 6.8 | 7.3091 | 7.4 | 7.7
Other Reporting information:
MWOO Levy Exemption (NSW Government Gazette no.182 of 2nd May 2021)
Section b):
§ MWOO has been pasteurised according to section 1.
§ MWOO has been biologically stabilised according to section 2.
Section d)
§ The tonnage shipped is (as at 01/11/2021) is 244664 tonnes (limited to 303500 tonnes up to 1st May 2022).

## October 2021
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for October 2021
Date published 15 Nov 2021
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 6
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 0.3 | 0.40667 | 0.4 | 0.55
BOD | milligrams per litre | 11 | 19.8333 | 21 | 30
Nitrogen- Total as N | milligrams per litre | 3.2 | 4.4833 | 4.5 | 5.6
Oil and Grease | milligrams per litre | <5 | <5 | 5 | 5
Suspended Solids | milligrams per litre | 8 | 37.1667 | 37 | 66
pH | pH | 7.3 | 7.6 | 7.5 | 8
Other Reporting information:
MWOO Levy Exemption (NSW Government Gazette no.182 of 2nd May 2021)
Section b):
§ MWOO has been pasteurised according to section 1.
§ MWOO has been biologically stabilised according to section 2.
Section d)
§ The tonnage shipped is (as at 01/10/2021) is 238088 tonnes (limited to 303500 tonnes up to 1st May 2022).

## September 2021
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for September 2021
Date published 15 Oct 2021
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 1
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 0.18 | 0.18 | 0.18 | 0.18
BOD | milligrams per litre | <4 | <4 | <4 | <4
Nitrogen- Total as N | milligrams per litre | 1.8 | 1.8 | 1.8 | 1.8
Oil and Grease | milligrams per litre | <5 | <5 | <5 | <5
Suspended Solids | milligrams per litre | 21 | 21 | 21 | 21
pH | pH | 7.6 | 7.6 | 7.6 | 7.6
Other Reporting information:
MWOO Levy Exemption (NSW Government Gazette no.182 of 2nd May 2021)
Section b):
§ MWOO has been pasteurised according to section 1.
§ MWOO has been biologically stabilised according to section 2.
Section d)
§ The tonnage shipped is (as at 01/09/2021) is 231400 tonnes (limited to 303500 tonnes up to 1st May 2022).

## August 2021
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for August 2021
Date published 10 Sep 2021
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 5
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 0.23 | 0.344 | 0.29 | 0.55
BOD | milligrams per litre | <4 | 15 | 15 | 25
Nitrogen- Total as N | milligrams per litre | 5 | 6.2 | 5.5 | 9.3
Oil and Grease | milligrams per litre | <5 | <5 | <5 | <5
Suspended Solids | milligrams per litre | 5 | 41.8 | 24 | 86
pH | pH | 6.9 | 7.04 | 6.9 | 7.5
Other Reporting information:
MWOO Levy Exemption (NSW Government Gazette no.182 of 2nd May 2021)
Section b):
§ MWOO has been pasteurised according to section 1.
§ MWOO has been biologically stabilised according to section 2.
Section d)
§ The tonnage shipped is (as at 01/09/2021) is 231400 tonnes (limited to 303500 tonnes up to 1st May 2022).

## July 2021
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for July 2021
Date published 13 Aug 2021
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 2
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 0.12 | 0.315 | 0.315 | 0.51
BOD | milligrams per litre | <4 | 36.5 | 36.5 | 69
Nitrogen- Total as N | milligrams per litre | 1.1 | 4.1 | 4.1 | 7.1
Oil and Grease | milligrams per litre | <5 | <5 | <5 | <5
Suspended Solids | milligrams per litre | 18 | 51 | 51 | 84
pH | pH | 7.2 | 7.45 | 7.45 | 7.7
Other Reporting information:
MWOO Levy Exemption (NSW Government Gazette no.182 of 2nd May 2021)
Section b):
§ MWOO has been pasteurised according to section 1.
§ MWOO has been biologically stabilised according to section 2.
Section d)
§ The tonnage shipped is (as at 01/08/2021) is 223960 tonnes (limited to 303500 tonnes up to 1st May 2022).

## June 2021
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for June 2021
Date published 14 Jul 2021
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 5
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 0.12 | 0.2 | 0.15 | 0.37
BOD | milligrams per litre | <4 | 9.2 | 6 | 20
Nitrogen- Total as N | milligrams per litre | 4.3 | 5.64 | 4.8 | 8.8
Oil and Grease | milligrams per litre | <5 | <5 | <5 | <5
Suspended Solids | milligrams per litre | 6 | 84.8 | 29 | 300
pH | pH | 7.2 | 7.54 | 7.5 | 7.8
Other Reporting information:
MWOO Levy Exemption (NSW Government Gazette no.182 of 2nd May 2021)
Section b):
§ MWOO has been pasteurised according to section 1.
§ MWOO has been biologically stabilised according to section 2.
Section d)
§ The tonnage shipped is (as at 01/07/2021) is 217100 tonnes (limited to 303500 tonnes up to 1st May 2022).

## May 2021
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for May 2021
Date published 16 Jun 2021
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | No discharge occurred
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | N/A | N/A | N/A | N/A
BOD | milligrams per litre | N/A | N/A | N/A | N/A
Nitrogen- Total as N | milligrams per litre | N/A | N/A | N/A | N/A
Oil and Grease | milligrams per litre | N/A | N/A | N/A | N/A
Suspended Solids | milligrams per litre | N/A | N/A | N/A | N/A
pH | pH | N/A | N/A | N/A | N/A
Other Reporting information:
MWOO Levy Exemption (NSW Government Gazette no.182 of 2nd May 2021)
Section b):
§ MWOO has been pasteurised according to section 1.
§ MWOO has been biologically stabilised according to section 2.
Section d)
§ The tonnage shipped is (as at 01/06/2021) is 209777 tonnes (limited to 303500 tonnes up to 1st May 2022).

## April 2021
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for April 2021
Date published 16 Jun 2021
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | No discharge occurred
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | N/A | N/A | N/A | N/A
BOD | milligrams per litre | N/A | N/A | N/A | N/A
Nitrogen- Total as N | milligrams per litre | N/A | N/A | N/A | N/A
Oil and Grease | milligrams per litre | N/A | N/A | N/A | N/A
Suspended Solids | milligrams per litre | N/A | N/A | N/A | N/A
pH | pH | N/A | N/A | N/A | N/A
Other Reporting information:
MWOO Levy Exemption (Page 1667 and 1668 of NSW Government Gazette no.90 of 1st May 2020
Section b):
§ MWOO has been pasteurised according to section 1.3
§ MWOO has been biologically stabilised according to section 2.2
Section d)
§ The tonnage shipped is (as at 01/01/2021) is 201996 tonnes (limited to 218500 tonnes up to 1st May 2021).

## March 2021
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for March 2021
Date published 14 Apr 2021
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 9
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 0.079 | 0.312 | 0.3 | 0.76
BOD | milligrams per litre | <4 | 6.2222 | 4 | 11
Nitrogen- Total as N | milligrams per litre | 1.8 | 3.8889 | 4.4 | 5.2
Oil and Grease | milligrams per litre | <5 | 5.3333 | <5 | 8
Suspended Solids | milligrams per litre | 3 | 23.5556 | 15 | 64
pH | pH | 7.1 | 7.3333 | 7.3 | 7.5
Other Reporting information:
MWOO Levy Exemption (Page 1667 and 1668 of NSW Government Gazette no.90 of 1st May 2020
Section b):
§ MWOO has been pasteurised according to section 1.3
§ MWOO has been biologically stabilised according to section 2.2
Section d)
§ The tonnage shipped is (as at 01/04/2021) is 196618 tonnes (limited to 218500 tonnes up to 1st May 2021).

## February 2021
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for February 2021
Date published 4 Mar 2021
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 3
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 0.15 | 0.32667 | 0.15 | 0.68
BOD | milligrams per litre | <4 | 9 | 4 | 19
Nitrogen- Total as N | milligrams per litre | 2.8 | 3.7333 | 3.9 | 4.5
Oil and Grease | milligrams per litre | <5 | <5 | <5 | <5
Suspended Solids | milligrams per litre | 21 | 35.3333 | 21 | 64
pH | pH | 6.5 | 6.6333 | 6.7 | 6.7
Other Reporting information:
MWOO Levy Exemption (Page 1667 and 1668 of NSW Government Gazette no.90 of 1st May 2020
Section b):
§ MWOO has been pasteurised according to section 1.3
§ MWOO has been biologically stabilised according to section 2.2
Section d)
§ The tonnage shipped is (as at 01/03/2021) is 188445 tonnes (limited to 218500 tonnes up to 1st May 2021).

## January 2021
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for January 2021
Date published 14 Feb 2021
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 2
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 0.14 | 0.215 | 0.215 | 0.29
BOD | milligrams per litre | <4 | 13.5 | 13.5 | 23
Nitrogen- Total as N | milligrams per litre | 2.3 | 4.6 | 4.6 | 6.9
Oil and Grease | milligrams per litre | <5 | <5 | <5 | <5
Suspended Solids | milligrams per litre | 3 | 166.5 | 166.5 | 330
pH | pH | 7.2 | 7.3 | 7.3 | 7.4
Other Reporting information:
MWOO Levy Exemption (Page 1667 and 1668 of NSW Government Gazette no.90 of 1st May 2020
Section b):
§ MWOO has been pasteurised according to section 1.3
§ MWOO has been biologically stabilised according to section 2.2
Section d)
§ The tonnage shipped is (as at 01/02/2021) is 182038 tonnes (limited to 218500 tonnes up to 1st May 2021).