## February 2021
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for February 2021
Date published 4 Mar 2021
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 3
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 0.15 | 0.32667 | 0.15 | 0.68
BOD | milligrams per litre | <4 | 9 | 4 | 19
Nitrogen- Total as N | milligrams per litre | 2.8 | 3.7333 | 3.9 | 4.5
Oil and Grease | milligrams per litre | <5 | <5 | <5 | <5
Suspended Solids | milligrams per litre | 21 | 35.3333 | 21 | 64
pH | pH | 6.5 | 6.6333 | 6.7 | 6.7
Other Reporting information:
MWOO Levy Exemption (Page 1667 and 1668 of NSW Government Gazette no.90 of 1st May 2020
Section b):
§ MWOO has been pasteurised according to section 1.3
§ MWOO has been biologically stabilised according to section 2.2
Section d)
§ The tonnage shipped is (as at 01/01/2021) is 173402 tonnes (limited to 218500 tonnes up to 1st May 2021).

## January 2021
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for January 2021
Date published 14 Feb 2021
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 2
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 0.14 | 0.215 | 0.215 | 0.29
BOD | milligrams per litre | <4 | 13.5 | 13.5 | 23
Nitrogen- Total as N | milligrams per litre | 2.3 | 4.6 | 4.6 | 6.9
Oil and Grease | milligrams per litre | <5 | <5 | <5 | <5
Suspended Solids | milligrams per litre | 3 | 166.5 | 166.5 | 330
pH | pH | 7.2 | 7.3 | 7.3 | 7.4
Other Reporting information:
MWOO Levy Exemption (Page 1667 and 1668 of NSW Government Gazette no.90 of 1st May 2020
Section b):
§ MWOO has been pasteurised according to section 1.3
§ MWOO has been biologically stabilised according to section 2.2
Section d)
§ The tonnage shipped is (as at 01/01/2021) is 173402 tonnes (limited to 218500 tonnes up to 1st May 2021).

## December 2020
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for December 2020
Date published 7 Jan 2021
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 9
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 0.083 | 0.34478 | 0.23 | 0.88
BOD | milligrams per litre | <4 | 12 | 9 | 43
Nitrogen- Total as N | milligrams per litre | 2.4 | 5.8444 | 3.4 | 14
Oil and Grease | milligrams per litre | <5 | <5 | <5 | <5
Suspended Solids | milligrams per litre | 2 | 34.3333 | 13 | 110
pH | pH | 7 | 7.2556 | 7.3 | 7.6
Other Reporting information:
MWOO Levy Exemption (Page 1667 and 1668 of NSW Government Gazette no.90 of 1st May 2020
Section b):
§ MWOO has been pasteurised according to section 1.3
§ MWOO has been biologically stabilised according to section 2.2
Section d)
§ The tonnage shipped is (as at 30/09/2020) is 153704 tonnes (limited to 218500 tonnes up to 1st May 2021).

## November 2020
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for November 2020
Date published 4 Dec 2020
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 2
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 0.17 | 0.265 | 0.265 | 0.36
BOD | milligrams per litre | 9 | 17.5 | 17.5 | 26
Nitrogen- Total as N | milligrams per litre | 3.3 | 4.1 | 4.1 | 4.9
Oil and Grease | milligrams per litre | <5 | 5.5 | 5.5 | 6
Suspended Solids | milligrams per litre | 2 | 56 | 56 | 110
pH | pH | 7.3 | 7.45 | 7.45 | 7.6
Other Reporting information:
MWOO Levy Exemption (Page 1667 and 1668 of NSW Government Gazette no.90 of 1st May 2020
Section b):
§ MWOO has been pasteurised according to section 1.3
§ MWOO has been biologically stabilised according to section 2.2
Section d)
§ The tonnage shipped is (as at 30/09/2020) is 153704 tonnes (limited to 218500 tonnes up to 1st May 2021).

## October 2020
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for October 2020
Date published 12 Nov 2020
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 6
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 0.054 | 0.45917 | 0.33 | 1.1
BOD | milligrams per litre | <4 | 29.8333 | 17.5 | 96
Nitrogen- Total as N | milligrams per litre | 1.9 | 9.2167 | 5.1 | 24
Oil and Grease | milligrams per litre | <5 | 5.6667 | 5 | 8
Suspended Solids | milligrams per litre | 6 | 107.8333 | 56.5 | 260
pH | pH | 6.7 | 7.0167 | 7.05 | 7.4
Other Reporting information:
MWOO Levy Exemption (Page 1667 and 1668 of NSW Government Gazette no.90 of 1st May 2020
Section b):
§ MWOO has been pasteurised according to section 1.3
§ MWOO has been biologically stabilised according to section 2.2
Section d)
§ The tonnage shipped is (as at 30/09/2020) is 153704 tonnes (limited to 218500 tonnes up to 1st May 2021).

## September 2020
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for September 2020
Date published 12 Oct 2020
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 1
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 0.18 | 0.18 | 0.18 | 0.18
BOD | milligrams per litre | 9 | 9 | 9 | 9
Nitrogen- Total as N | milligrams per litre | 3.9 | 3.9 | 3.9 | 3.9
Oil and Grease | milligrams per litre | <5 | <5 | <5 | <5
Suspended Solids | milligrams per litre | 20 | 20 | 20 | 20
pH | pH | 7.2 | 7.2 | 7.2 | 7.2
Other Reporting information:
MWOO Levy Exemption (Page 1667 and 1668 of NSW Government Gazette no.90 of 1st May 2020
Section b):
§ MWOO has been pasteurised according to section 1.3
§ MWOO has been biologically stabilised according to section 2.2
Section d)
§ The tonnage shipped is (as at 31/07/2020) is 138619 tonnes (limited to 218500 tonnes up to 1st May 2021).

## August 2020
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for August 2020
Date published 23 Sep 2020
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 2
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 0.097 | 0.4235 | 0.4235 | 0.75
BOD | milligrams per litre | <4 | 32 | 32 | 60
Nitrogen- Total as N | milligrams per litre | 2.9 | 16.95 | 16.95 | 31
Oil and Grease | milligrams per litre | <5 | 6 | 6 | 7
Suspended Solids | milligrams per litre | 13 | 91.5 | 91.5 | 170
pH | pH | 6.8 | 7.2 | 7.2 | 7.6
Other Reporting information:
MWOO Levy Exemption (Page 1667 and 1668 of NSW Government Gazette no.90 of 1st May 2020
Section b):
§ MWOO has been pasteurised according to section 1.3
§ MWOO has been biologically stabilised according to section 2.2
Section d)
§ The tonnage shipped is (as at 31/07/2020) is 138619 tonnes (limited to 218500 tonnes up to 1st May 2021).

## July 2020
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for July 2020
Date published 10 Aug 2020
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 1
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | <0.05 | <0.05 | <0.05 | <0.05
BOD | milligrams per litre | <4 | <4 | <4 | <4
Nitrogen- Total as N | milligrams per litre | 1.7 | 1.7 | 1.7 | 1.7
Oil and Grease | milligrams per litre | <5 | <5 | <5 | <5
Suspended Solids | milligrams per litre | <2 | <2 | <2 | <2
pH | pH | 6.9 | 6.9 | 6.9 | 6.9
Other Reporting information:
MWOO Levy Exemption (Page 1667 and 1668 of NSW Government Gazette no.90 of 1st May 2020
Section b):
§ MWOO has been pasteurised according to section 1.3
§ MWOO has been biologically stabilised according to section 2.2
Section d)
§ The tonnage shipped is (as at 31/07/2020) is 138619 tonnes (limited to 218500 tonnes up to 1st May 2021).

## June 2020
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for June 2020
Date published 22 Jul 2020
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | No discharge occurred
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | N/A | N/A | N/A | N/A
BOD | milligrams per litre | N/A | N/A | N/A | N/A
Nitrogen- Total as N | milligrams per litre | N/A | N/A | N/A | N/A
Oil and Grease | milligrams per litre | N/A | N/A | N/A | N/A
Suspended Solids | milligrams per litre | N/A | N/A | N/A | N/A
pH | pH | N/A | N/A | N/A | N/A
Other Reporting information:
MWOO Levy Exemption (Page 1667 and 1668 of NSW Government Gazette no.90 of 1st May 2020
Section b):
§ MWOO has been pasteurised according to section 1.3
§ MWOO has been biologically stabilised according to section 2.2
Section d)
§ The tonnage shipped is (as at 30/06/2020) is 130120 tonnes (limited to 218500 tonnes up to 1st May 2021).

## May 2020
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for May 2020
Date published 11 Jun 2020
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 1
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | <0.05 | <0.05 | <0.05 | <0.05
BOD | milligrams per litre | 0 | 4 | 4 | 0
Nitrogen- Total as N | milligrams per litre | 2.1 | 2.1 | 2.1 | 2.1
Oil and Grease | milligrams per litre | <5 | <5 | <5 | <5
Suspended Solids | milligrams per litre | 4 | 4 | 4 | 4
pH | pH | 6.7 | 6.7 | 6.7 | 6.7

## April 2020
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for April 2020
Date published 24 May 2020
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | NA
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | N/A | N/A | N/A | N/A
BOD | milligrams per litre | N/A | N/A | N/A | N/A
Nitrogen- Total as N | milligrams per litre | N/A | N/A | N/A | N/A
Oil and Grease | milligrams per litre | N/A | N/A | N/A | N/A
Suspended Solids | milligrams per litre | N/A | N/A | N/A | N/A
pH | pH | N/A | N/A | N/A | N/A

## March 2020
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for March 2020
Date published 24 Apr 2020
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 1
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 1 | 1 | 1 | 1
BOD | milligrams per litre | 57 | 57 | 57 | 57
Nitrogen- Total as N | milligrams per litre | 8.8 | 8.8 | 8.8 | 8.8
Oil and Grease | milligrams per litre | 6 | 6 | 6 | 6
Suspended Solids | milligrams per litre | 190 | 190 | 190 | 190
pH | pH | 7.1 | 7.1 | 7.1 | 7.1

## February 2020
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for February 2020
Date published 2 Mar 2020
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 3
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 1.3 | 1.8 | 1.6 | 2.5
BOD | milligrams per litre | 140 | 273.3333 | 310 | 370
Nitrogen- Total as N | milligrams per litre | 22 | 53.3333 | 69 | 69
Oil and Grease | milligrams per litre | 5 | 7.6667 | 7 | 11
Suspended Solids | milligrams per litre | 250 | 263.3333 | 270 | 270
pH | pH | 6.9 | 7.3333 | 7.3 | 7.8

## January 2020
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for January 2020
Date published 12 Feb 2020
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 1
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 1.2 | 1.2 | 1.2 | 1.2
BOD | milligrams per litre | 91 | 91 | 91 | 91
Nitrogen- Total as N | milligrams per litre | 9.1 | 9.1 | 9.1 | 9.1
Oil and Grease | milligrams per litre | 12 | 12 | 12 | 12
Suspended Solids | milligrams per litre | 260 | 260 | 260 | 260
pH | pH | 7 | 7 | 7 | 7

## December 2019
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for December 2020
Date published 10 Jan 2020
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | No discharge occurred
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | N/A | N/A | N/A | N/A
BOD | milligrams per litre | N/A | N/A | N/A | N/A
Nitrogen- Total as N | milligrams per litre | N/A | N/A | N/A | N/A
Oil and Grease | milligrams per litre | N/A | N/A | N/A | N/A
Suspended Solids | milligrams per litre | N/A | N/A | N/A | N/A
pH | pH | N/A | N/A | N/A | N/A

## November 2019
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for November 2019
Date published 18 Dec 2019
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | No discharge occurred
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | N/A | N/A | N/A | N/A
BOD | milligrams per litre | N/A | N/A | N/A | N/A
Nitrogen- Total as N | milligrams per litre | N/A | N/A | N/A | N/A
Oil and Grease | milligrams per litre | N/A | N/A | N/A | N/A
Suspended Solids | milligrams per litre | N/A | N/A | N/A | N/A
pH | pH | N/A | N/A | N/A | N/A

## October 2019
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for October 2019
Date published 18 Nov 2019
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | No discharge occurred
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | N/A | N/A | N/A | N/A
BOD | milligrams per litre | N/A | N/A | N/A | N/A
Nitrogen- Total as N | milligrams per litre | N/A | N/A | N/A | N/A
Oil and Grease | milligrams per litre | N/A | N/A | N/A | N/A
Suspended Solids | milligrams per litre | N/A | N/A | N/A | N/A
pH | pH | N/A | N/A | N/A | N/A

## September 2019
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for September 2019
Date published 25 Oct 2019
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 1
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 0.58 | 0.58 | 0.58 | 0.58
BOD | milligrams per litre | 26 | 26 | 26 | 26
Nitrogen- Total as N | milligrams per litre | 71 | 71 | 71 | 71
Oil and Grease | milligrams per litre | <5 | <5 | <5 | <5
Suspended Solids | milligrams per litre | 97 | 97 | 97 | 97
pH | pH | 7.4 | 7.4 | 7.4 | 7.4

## August 2019
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for August 2019
Date published 2 Sep 2019
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | No discharge occurred
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | N/A | N/A | N/A | N/A
BOD | milligrams per litre | N/A | N/A | N/A | N/A
Nitrogen- Total as N | milligrams per litre | N/A | N/A | N/A | N/A
Oil and Grease | milligrams per litre | N/A | N/A | N/A | N/A
Suspended Solids | milligrams per litre | N/A | N/A | N/A | N/A
pH | pH | N/A | N/A | N/A | N/A

## July 2019
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for July 2019
Date published 12 Aug 2019
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 1
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 1.1 | 1.1 | 1.1 | 1.1
BOD | milligrams per litre | 53 | 53 | 53 | 53
Nitrogen- Total as N | milligrams per litre | 7.6 | 7.6 | 7.6 | 7.6
Oil and Grease | milligrams per litre | <5 | <5 | <5 | <5
Suspended Solids | milligrams per litre | 180 | 180 | 180 | 180
pH | pH | 6.8 | 6.8 | 6.8 | 6.8

## June 2019
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for June 2019
Date published 11 Jul 2019
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 2
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 0.22 | 0.42 | 0.42 | 0.62
BOD | milligrams per litre | 9 | 11.5 | 11.5 | 14
Nitrogen- Total as N | milligrams per litre | 6.1 | 7.55 | 7.55 | 9
Oil and Grease | milligrams per litre | <5 | <5 | <5 | <5
Suspended Solids | milligrams per litre | 28 | 99 | 99 | 170
pH | pH | 6.4 | 6.65 | 6.65 | 6.9

## May 2019
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for May 2019
Date published 17 Jun 2019
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | No discharge occurred
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | N/A | N/A | N/A | N/A
BOD | milligrams per litre | N/A | N/A | N/A | N/A
Nitrogen- Total as N | milligrams per litre | N/A | N/A | N/A | N/A
Oil and Grease | milligrams per litre | N/A | N/A | N/A | N/A
Suspended Solids | milligrams per litre | N/A | N/A | N/A | N/A
pH | pH | N/A | N/A | N/A | N/A

## April 2019
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for April 2019
Date published 6 May 2019
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | No discharge occurred
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | N/A | N/A | N/A | N/A
BOD | milligrams per litre | N/A | N/A | N/A | N/A
Nitrogen- Total as N | milligrams per litre | N/A | N/A | N/A | N/A
Oil and Grease | milligrams per litre | N/A | N/A | N/A | N/A
Suspended Solids | milligrams per litre | N/A | N/A | N/A | N/A
pH | pH | N/A | N/A | N/A | N/A

## March 2019
Eastern Creek Operations Pty Ltd
UR-3R Facility, Wallgrove Road, Eastern Creek, NSW 2766
PO Box 202, Horsley Park, NSW 2175
Environment Protection Licence # 11798
http://www.environment.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=31791&SYSUID=1&LICID=11798
Monitoring Data for March 2019
Date published 16 April 2019
Monitoring Data for Point ID#5
ID#5 is the sampling point for overflows from the Eastern Creek UR-3R Facility’s stormwater capture dam. The stormwater system is designed to capture the first flush (the first 10mm of rainfall runoff from the site) and thereafter to allow the excess stormwater to overflow after passing through the capture dam. The sampling results shown on this report are for the overflow stormwater, not the ‘first flush’ captured water. The Facility’s stormwater system is designed to mitigate runoff so that the 1:100 year site stormwater discharge rate is no larger than a 1:5 year runoff event would have been before the construction of the Facility.
Monitoring frequency required by the licence: |  |  |  | Daily during any discharge
Number of times sampled during the month: |  |  |  | 4
Analyte | Units of Measure | Min. Value | Mean Value | Median Value | Max. Value
Phosphorus (Total) | milligrams per litre | 0.48 | 0.945 | 0.8 | 1.7
BOD | milligrams per litre | 88 | 227 | 180 | 460
Nitrogen- Total as N | milligrams per litre | 10 | 25.5 | 16 | 60
Oil and Grease | milligrams per litre | <5 | <5 | <5 | <5
Suspended Solids | milligrams per litre | 21 | 106.25 | 112 | 180
pH | pH | 6.6 | 6.875 | 6.9 | 7.1